## Slide 1: Dynamic Measurements

## Slide 2: Dynamic Measurements
It often takes a measurement system time to reach equilibrium, even for static measurands (like when taking your temperature).
The situation is further complicated when the input temperature changes with time.

## Slide 3: Dynamic Measurements
Heat transfer and energy absorption by thermometer bulb
where
A = bulb surface area
c = heat capacity of bulb
h = heat transfer coefficient
m = mass of bulb
Rearranging,
Time constant - As the mass of the bulb decreases, the response time decreases

## Slide 4: Dynamic Measurements
The thermometer is an example of a 1st order system. These systems have energy storage effects.
4/11
The solution to a 1st order system is
where
is the response (in the thermometer example it is temperature)
and are the initial and steady state value of the system
is time
is the time constant

## Slide 5: Example
Thermistor data here
ADC equation:
Manufacturer’s Temperature equation:
Voltage divider equation:

## Slide 6: Example (contd.)
Take average of this portion for
Take average of this portion for

## Slide 7: Example (contd.)
then
when
Special point in 1st order response equation.
Lookup and find . This give you .
This is useful!

## Slide 8: Example (contd.)

## Slide 9: Dynamic Measurements
General differential equation form of 1st order system subject to a step input
where is known as the Heaviside function. It is a unit step function.
At ,
Solving for the time constant,
This is useful!
- steady state value
- initial value
- slope at

## Slide 10
Example
The 1st order responses of two different systems subject to a step input are shown below. Which has the higher time constant? What are the response equations for each system?

## Slide 11: System 1
11/11
From the plot
For 1st Order system
When
On the plot where then
So and
System 2
From the plot
For 1st Order system
System 2 has a larger time constant.